VOORHEES TOWNSHIP COMMITTEE

MINUTES FOR THE MEETING OF MARCH 22, 2021

REGULAR MEETING 7:00 PM

FLAG SALUTE

ROLL CALL Committeewoman Fetbroyt, Committeeman Platt, Deputy Mayor Ravitz, Deputy Mayor Nocito, Mayor Mignogna

SUNSHINE STATEMENT

Mr. Long stated that this meeting is being held in compliance with the “Open Public Meetings Act” and has been published as required in the Courier Post and the Township Website.

SECOND READING ON ORDINANCE

ADOPTION OF TOWNSHIP STORMWATER CONTROL ORDINANCE

MOTION TO CLOSE

PUBLIC PORTION: 			 	MOTION TO APPROVE:

SECONDED:					SECONDED:

AYES:

NAYS:

ROLL CALL:	MRS. FETBROYT-     	   	MR. PLATT-

MR. RAVITZ-      		MS. NOCITO-

MAYOR MIGNOGNA-

PUBLIC COMMENT FOR RESOLUTIONS ONLY

MOTION TO CLOSE

PUBLIC PORTION:				AYES:

SECONDED:					NAYS:

RESOLUTION NO.  96-21			MEMORIALIZING AN EXECUTIVE SESSION 							FROM THE MEETING OF MARCH 15, 2021

RESOLUTION NO.  97-21			AUTHORIZING THE TAX COLLECTOR TO 								CONDUCT AN ELECTRONIC TAX SALE FOR 2021 							THROUGH REALAUCTION.COM, LLC

RESOLUTION NO.  98-21			ADJUSTING RECORDS OF TAX ASSESSOR

RESOLUTION NO.  99-21			AUTHORIZING TRANSFERS BETWEEN 2020 							APPROPRIATION RESERVES

RESOLUTION NO. 100-21			AUTHORIZING THE PURCHASE OF EIGHT 								POLICE VEHICLES THROUGH A STATE 								CONTRACT

RESOLUTION NO. 101-21			AWARDING THE CONTRACT FOR THE AVIAN 							PUMP STATION IMPROVEMENTS PROJECT TO 							TKT CONSTRUCTION CO., INC.

RESOLUTION NO. 102-21			SUPPORTING S-3522, WHICH WOULD ESTABLISH 					A NEW BOARD OF TRUSTEES FOR THE LOCAL 						PART OF THE PUBLIC EMPLOYEES’ RETIREMENT 					SYSTEM (PERS) TO PRESERVE THE STRUCTURE 						AND INTEGRITY OF THE MORE SOLVENT LOCAL 					PART

RESOLUTION NO.				EXECUTIVE SESSION

APPROVAL OF MINUTES FOR MARCH 8, 2021

COURT ADMINISTRATOR’S REPORT FOR FEBRUARY 2021

REGISTRAR’S REPORT FOR FEBRUARY 2021

APPROVAL OF BILLS FOR MARCH 22, 2021

COMMENTS FROM COMMITTEE

COMMENTS FROM THE PUBLIC

MOTION TO CLOSE

PUBLIC COMMENT:	AYES:

SECONDED:	NAYS:

ADJOURNMENT

ORDINANCE NO.

ADOPTION OF TOWNSHIP STORMWATER CONTROL ORDINANCE

§ 154.017 STORMWATER CONTROL.

- Scope and purpose.

  - Policy statement. Flood control, groundwater recharge, and pollutant reduction shall be achieved through the use of stormwater management measures, including green infrastructure Best Management Practices (GI BMPs) and nonstructural stormwater management strategies. GI BMPs and low impact development (LID) should be utilized to meet the goal of maintaining natural hydrology to reduce stormwater runoff volume, reduce erosion, encourage infiltration and groundwater recharge and reduce pollution. GI BMPs and LID should be developed based upon physical site conditions and the origin, nature, and the anticipated quantity or amount of potential pollutants. Multiple stormwater management BMPs may be necessary to achieve the established performance standards for water quality, quantity, and groundwater recharge.

  - Purpose. It is the purpose of this section to establish minimum stormwater management requirements and controls for MAJOR DEVELOPMENT, as defined in division (B) below.

  - Applicability.

    - This section shall be applicable to all site plans and subdivisions for the following major developments that require preliminary or final site plan or subdivision review:

      - Non-residential major developments; and

      - Aspects of residential major developments that are not pre-empted by the Residential Site Improvement Standards at N.J.A.C. 5:21.

    - This section shall also be applicable to all major developments undertaken by the Voorhees Township.

  - Compatibility with other permit and ordinance requirements. Development approvals issued pursuant to this ordinance are to be considered an integral part of development approvals and do not relieve the applicant of the responsibility to secure required permits or approvals for activities regulated by any other applicable code, rule, act, or ordinance. In their interpretation and application, the provisions of this section shall be held to be the minimum requirements for the promotion of the public health, safety, and general welfare.

This section is not intended to interfere with, abrogate, or annul any other ordinances, rule or regulation, statute, or other provision of law except that, where any provision of this section imposes restrictions different from those imposed by any other ordinance, rule or regulation, or other provision of law, the more restrictive provisions or higher standards shall control.

- Definitions.

For the purpose of this ordinance, the following terms, phrases, words and their derivations shall have the meanings stated herein unless their use in the text of this division clearly demonstrates a different meaning. When not inconsistent with the context, words used in the present tense include the future, words used in the plural number include the singular number, and words used in the singular number include the plural number. The word “shall” is always mandatory and not merely directory. The definitions below are the same as or based on the corresponding definitions in the Stormwater Management Rules at N.J.A.C. 7:7-13.16.

CAFRA CENTERS, CORES OR NODES. Those areas within boundaries incorporated by reference or revised by the Department pursuant to N.J.A.C. 7:8E-5B.

CAFRA PLANNING MAP. The map used by the Department to identify the location of Coastal Planning Areas, CAFRA Centers, CAFRA Cores and CAFRA Nodes. The CAFRA Planning Map is available on the Department’s Geographic Information System (GIS).

COMMUNITY BASIN. An infiltration system, sand filter designed to infiltrate, standard constructed wetland, or wet pond, established in accordance with N.J.A.C. 7:8-4.2(c)14, that is designed and constructed in accordance with the New Jersey Stormwater Best Management Practices Manual, or an alternate design, approved in accordance with N.J.A.C. 7:8-5.2(g), for an infiltration system, sand filter designed to infiltrate, standard constructed wetland, or wet pond and that complies with the requirements of this division.

COMPACTION. The increase in soil bulk density.

CONTRIBUTARY DRAINAGE AREA. The area from which stormwater runoff drains to a stormwater management measure, not including the area of the stormwater management area itself.

CORE. A pedestrian-oriented area of commercial and civic uses serving the surrounding municipality, generally including housing and access to public transportation.

COUNTY REVIEW AGENCY. An agency designated by the Board of County Commissioners to review municipal stormwater management plans and implementing ordinance(s). The county review agency may either be:

- A county planning agency; or

- A county water resource association created under N.J.S.A 58:16A-55.5, if the ordinance or resolution delegates authority to approve, conditionally approve, or disapprove municipal stormwater management plans and implementing ordinances.

DEPARTMENT. The New Jersey Department of Environmental Protection.

DESIGN ENGINEER. A person professionally qualified and duly licensed in New Jersey to perform engineering services that may include, but not necessarily be limited to, development of project requirements, creation and development of project design and preparation of drawings and specifications.

DESIGNATED CENTER. A State Development and Redevelopment Plan Center as designated by the State Planning Commission such as urban, regional, town, village, or hamlet.

DEVELOPMENT. The division of a parcel of land into two or more parcels, the construction, reconstruction, conversion, structural alteration, relocation or enlargement of any building or structure, any mining excavation or landfill, and any use or change in the use of any building or other structure, or land or extension of use of land, by any person, for which permission is required under the Municipal Land Use Law, N.J.S.A. 40:55D-1 et seq.

In the case of development of agricultural lands, development means: any activity that requires a state permit; any activity reviewed by the County Agricultural Board (CAB) and the State Agricultural Development Committee (SADC), and municipal review of any activity not exempted by the Right to Farm Act, N.J.S.A 4:1C-1 et seq.

DISTURBANCE. The placement or reconstruction of impervious surface or motor vehicle surface, or exposure and/or movement of soil or bedrock or clearing, cutting, or removing of vegetation. Milling and repaving is not considered disturbance for the purpose of this definition.

DRAINAGE AREA. A geographic area within which stormwater, sediments, or dissolved materials drain to a particular receiving waterbody or to a particular point along a receiving waterbody.

EMPOWERMENT NEIGHBORHOODS. A neighborhood designated by the Urban Coordinating Council in consultation and conjunction with the New Jersey Redevelopment Authority pursuant to N.J.S.A 55:19-69.

ENVIRONMENTALLY CONSTRAINED AREA. The following areas where the physical alteration of the land is in some way restricted, either through regulation, easement, deed restriction or ownership such as: wetlands, floodplains, threatened and endangered species sites or designated habitats, and parks and preserves. Habitats of endangered or threatened species are identified using the Department’s Landscape Project as approved by the Department’s Endangered and Nongame Species Program.

ENVIRONMENTALLY CRITICAL AREAS. An area or feature which is of significant environmental value, including but not limited to: stream corridors; natural heritage priority sites; habitat of endangered or threatened species; large areas of contiguous open space or upland forest; steep slopes; and well head protection and groundwater recharge areas. Habitats of endangered or threatened species are identified using the Department's Landscape Project as approved by the Department's Endangered and Nongame Species Program.

EROSION. The detachment and movement of soil or rock fragments by water, wind, ice or gravity.

GREEN INFRASTRUCTURE. A stormwater management measure that manages stormwater close to its source by:

- Treating stormwater runoff through infiltration into subsoil; or

- Treating stormwater runoff through filtration by vegetation or soil; or

- Storming stormwater runoff for reuse.

HUC-14 OR HYDROLOGIC UNIT CODE 14. An area within which water drains to a particular receiving surface water body, also known as subwatershed, which is identified by a 14-digit hydrologic unit boundary designation, delineated within New Jersey by the United States Geological Survey.

IMPERVIOUS SURFACE. A surface that has been covered with a layer of material so that it is highly resistant to infiltration by water.

INFILTRATION. The process by which water seeps into the soil from precipitation.

LEAD PLANNING AGENCY. One or more public entities having stormwater management planning authority designated by the regional stormwater management planning committee pursuant to N.J.A.C. 7:8-3.2, that serves as the primary representative of the committee.

MAJOR DEVELOPMENT. An individual “development,” as well as multiple developments that individually or collectively result in:

- The disturbance of one or more acres of land since February 2, 2004;

- The creation of one-quarter acre or more of “regulated impervious surface” since February 2, 2004;

- The creation of one-quarter acre or more of “regulated motor vehicle surface” since March 2, 2021; or

- A combination of (2) and (3) above that totals an area of one-quarter acre or more. The same surface shall not be counted twice when determining if the combination area equals one-quarter acre or more.

Major development includes all developments that are part of a common plan of development or sale (for example, phased residential development) that collectively or individually meet any one or more paragraphs (1), (2), (3) or (4) above. Projects undertaken by any government agency that otherwise meet the definition of “major development” but do not require approval under Municipal Land Use Law, N.J.S.A. 40:55D-1 et seq., are also considered “major development.”

MOTOR VEHICLE. Land vehicles propelled other than by muscular power, such as automobiles, motorcycles, autocycles, and low speed vehicles. For the purposes of this definition, motor vehicle does not include farm equipment, snowmobiles, all-terrain vehicles, motorized wheelchairs, go-carts, gas buggies, golf carts, ski-slope grooming machines or vehicles that run only on rails or tracks.

MUNICIPALITY. The Township of Voorhees.

New Jersey Stormwater Best Management Practices (BMP) Manual or BMP Manual. The manual maintained by the Department providing, in part, design specifications, removal rates, calculation methods, and soil testing procedures approved by the Department as being capable of contributing to the achievement of the stormwater management standards specified in this division.  The BMP Manual is periodically amended by the Department as necessary to provide design specifications on additional best management practices and new information on already included practices reflecting the best available current information regarding the particular practice and the Department’s determination as to the ability of that best management practice to contribute to compliance with the standards contained in this division. Alternative stormwater management measures, removal rates, or calculation methods may be utilized, subject to the Township, in accordance with division (D)(7), of this ordinance and N.J.A.C. 7:8-5.2(g), that the proposed measure and its design will contribute to achievement of the design and performance standards established by this chapter.

NODE. An area designated by the State Planning Commission concentrating facilities and activities which are not organized in a compact form.

NUTRIENT. A chemical element or compound, such as nitrogen or phosphorus, which is essential to and promotes the development of organisms.

PERSON. Any individual, corporation, company, partnership, firm, association, Voorhees Township, or political subdivision of this state and any state, interstate or Federal agency.

POLLUTANT. Any dredged spoil, solid waste, incinerator residue, filter backwash, sewage, garbage, refuse, oil, grease, sewage sludge, munitions, chemical wastes, biological materials, medical wastes, radioactive substance (except those regulated under the Atomic Energy Act of 1954, as amended (42 U.S.C. 2011 et seq.), thermal waste, wrecked or discarded equipment, rock, sand, cellar dirt, industrial, municipal, agricultural, and construction waste or runoff, or other residue discharged directly or indirectly to the land, ground waters or surface waters of the state, or to a domestic treatment works. POLLUTANT includes both hazardous and nonhazardous pollutants.

RECHARGE. The amount of water from precipitation that infiltrates into the ground and is not evapotranspired.

REGULATED IMPERVIOUS SURFACE. Any of the following, alone or in combination:

- A net increase of impervious surface;

- The total area of impervious surface collected by a new stormwater conveyance system (for the purpose of this definition, a “new stormwater conveyance system” is a stormwater conveyance system that is constructed where one did not exist immediately prior to its construction or an existing system for which a new discharge location is created);

- The total area of impervious surface proposed to be newly collected by an existing stormwater conveyance system; and/or

- The total area of impervious surface collected by an existing stormwater conveyance system where the capacity of that conveyance system is increased.

REGULATED MOTOR VEHICLE SURFACE. Any of the following, alone or in combination:

- The total area of motor vehicle surface that is currently receiving water;

- A new increase in motor vehicle surface; and/or quality treatment either by vegetation or soil, by an existing stormwater management measure, or by treatment at a wastewater treatment plant, where the water quality treatment will be modified or removed.

SEDIMENT. Solid material, mineral or organic, that is in suspension, is being transported, or has been moved from its site of origin by air, water or gravity as a product of erosion.

SITE. The lot or lots upon which a major development is to occur or has occurred.

SOIL. All unconsolidated mineral and organic material of any origin.

STATE DEVELOPMENT AND REDEVELOPMENT PLAN METROPOLITAN PLANNING AREA (PA1). An area delineated on the State Plan Policy Map and adopted by the State Planning Commission that is intended to be the focus for much of the state's future redevelopment and revitalization efforts.

STATE PLAN POLICY MAP. The geographic application of the State Development and Redevelopment Plan's goals and statewide policies, and the official map of these goals and policies.

STORMWATER. Water resulting from precipitation (including rain and snow) that runs off the land's surface, is transmitted to the subsurface, or is captured by separate storm sewers or other sewage or drainage facilities or conveyed by snow removal equipment.

STORMWATER MANAGEMENT BMP. An excavation or embankment and related areas designed to retain stormwater runoff. A stormwater management BMP may either be normally dry (that is, a detention basin or infiltration system), retain water in a permanent pool (a retention basin), or be planted mainly with wetland vegetation (most constructed stormwater wetlands).

STORMWATER MANAGEMENT MEASURE. Any practice, technology, process, program, or other method intended to control or reduce stormwater runoff and associated pollutants, or to induce or control the infiltration or groundwater recharge of stormwater or to eliminate illicit or illegal non-stormwater discharges into stormwater conveyances.

STORMWATER MANAGEMENT PLANNING AGENCY. A public body authorized by legislation to prepared stormwater management plans.

STORMWATER MANAGEMENT PLANNING AREA. The geographic area for which a stormwater management planning agency is authorized to prepared stormwater management plans, or a specific portion of that area identified in a stormwater management plan prepared by that agency.

STORMWATER RUNOFF. Water flow on the surface of the ground or in storm sewers, resulting from precipitation.

TIDAL FLOOD HAZARD AREA. A flood hazard area in which the flood elevation resulting from the two-, 10- or 100-year storm, as applicable, is governed by tidal flooding from the Atlantic Ocean. Flooding in a tidal flood hazard area may be contributed to, or influenced by, stormwater runoff from inland areas, but the depth of flooding generated by the tidal rise and fall of the Atlantic Ocean is greater than flooding from any fluvial sources. In some situations, depending upon the extent of the storm surge from a particular storm event, a flood hazard area may be tidal in the 100-year storm, but fluvial in more frequent storm events.

URBAN COORDINATING COUNCIL EMPOWERMENT NEIGHBORHOOD. A neighborhood

given priority access to state resources through the New Jersey Redevelopment Authority.

URBAN ENTERPRISE ZONES. A zone designated by the New Jersey Enterprise Zone Authority pursuant to the New Jersey Urban Enterprise Zones Act, N.J.S.A. 52:27H-60 et. seq.

URBAN REDEVELOPMENT AREA. Previously developed portions of areas:

- Delineated on the State Plan Policy Map (SPPM) as the Metropolitan Planning Area (PA1), Designated Centers, Cores or Nodes;

- Designated as CAFRA Centers, Cores or Nodes;

- Designated as Urban Enterprise Zones; and

- Designated as Urban Coordinating Council Empowerment Neighborhoods.

WATER CONTROL STRUCTURE. A structure within, or adjacent to, a water, which intentionally or coincidentally alters the hydraulic capacity, the flood elevation resulting from the two-, 10- or 100-year storm, flood hazard area limit, and/or floodway limit of the water. Examples of a water control structure may include a bridge, culvert, dam, embankment, ford (if above grade), retaining wall, and weir.

WATERS OF THE STATE. The ocean and its estuaries, all springs, streams, wetlands, and bodies of surface or ground water, whether natural or artificial, within the boundaries of the State of New Jersey or subject to its jurisdiction.

WETLANDS or WETLAND. An area that is inundated or saturated by surface water or ground water at a frequency and duration sufficient to support, and that under normal circumstances does support, a prevalence of vegetation typically adapted for life in saturated soil conditions, commonly known as hydrophytic vegetation.

- Design and performance standards for stormwater management measures.

    - Stormwater management measures for major development shall be designed to provide the erosion control, groundwater recharge, stormwater runoff quantity, and stormwater runoff quality standards as follows:

      - The minimum standards for erosion control are those established under the Soil and Sediment Control Act, N.J.S.A. 4:24-39 et seq., and implementing rules at N.J.A.C. 2:90.

      - The minimum standards for groundwater recharge, stormwater quality and stormwater runoff quantity shall be met by incorporating green infrastructure.

    - The standards in this section apply only to new major development and are intended to minimize the impact of stormwater runoff on water quality and water quantity in receiving water bodies and maintain groundwater recharge. The standards do not apply to new major development to the extent that alternative design and performance standards are applicable under a regional stormwater management plan or Water Quality Management Plan adopted in accordance with Department rules.

- Stormwater management requirements for major development.

    - The development shall incorporate a maintenance plan for the stormwater management measures incorporated into the design of a major development in accordance with division (J) below.

    - Stormwater management measures shall avoid adverse impacts of concentrated flow on habitat for threatened and endangered species as documented in the Department Landscape Project or Natural Heritage Database established under N.J.S.A. 13:1B-15.147 through 15.150, particularly Helonias bullata (swamp pink) and/or Clemmys muhlnebergi (bog turtle).

    - The following linear development projects are exempt from the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity requirements of divisions (D)(16), (D)(17) and (D)(18) below.

      - The construction of an underground utility line provided that the disturbed areas are revegetated upon completion; and

      - The construction of an aboveground utility line provided that the existing conditions are maintained to the maximum extent practicable; and

      - The construction of a public pedestrian access, such as a sidewalk or trail with a maximum width of 14 feet, provided that the access is made of permeable material.

    - A waiver from strict compliance from the green infrastructure, groundwater recharge, stormwater runoff quality, and stormwater runoff quantity requirements of divisions (D)(15), (D)(16), (D)(17) and (D)(18) may be obtained for the enlargement of an existing public roadway or railroad; or the construction or enlargement of a public pedestrian access, provided that the following conditions are met:

      - The applicant demonstrates that there is a public need for the project that cannot be accomplished by any other means; and

      - The applicant demonstrates through an alternatives analysis, that through the use of nonstructural and structural stormwater management measures, the option selected complies with the requirements of divisions (D)(15), (D)(16), (D)(17) and (D)(18) to the maximum extent practicable; and

      - The applicant demonstrates that, in order to meet the requirements of divisions (D)(15), (D)(16), (D)(17) and (D)(18) below, existing structures currently in use, such as homes and buildings, would need to be condemned; and

      - The applicant demonstrates that it does not own or have other rights to areas, including the potential to obtain through condemnation lands not falling under division (D)(4)(c) above within the upstream drainage area of the receiving stream, that would provide additional opportunities to mitigate the requirements of divisions (D)(15), (D)(16), (D)(17) and (D)(18) below that were not achievable on-site.

    - Tables 1 through 3 below summarize the ability of stormwater best management practices identified and described in the New Jersey Stormwater Best Management Practices Manual to satisfy the green infrastructure, groundwater recharge, stormwater runoff quality and stormwater runoff quantity standards specified in divisions (D)(15), (D)(16), (D)(17), and (D)(18). When designed in accordance with the most current version of the New Jersey Stormwater Best Management Practices Manual, the stormwater management measures found at N.J.A.C. 7:8-5.2(f) Tables 5-1, 5-2 and 5-3 and listed below in Tables 1, 2 and 3 are presumed to be capable of providing stormwater controls for the design and performance standards as outlined in the tables below. Upon amendments of the New Jersey Stormwater Best Management Practices to reflect additions or deletions of BMPs meeting these standards, or changes in the presumed performance of BMPs designed in accordance with the New Jersey Stormwater BMP Manual, the Department shall publish in the New Jersey Registers a notice of administrative change revising the applicable table. The most current version of the BMP Manual can be found on the Department’s website at:

https://njstormwater.org/bmp_manual2.htm

    - Where the BMP tables in the NJ Stormwater Management Rule are different due to updates or amendments with the tables in this ordinance the BMP Tables in the Stormwater Management rule at N.J.A.C. 7:8-5.2(f) shall take precedence.

| Table 1 Green Infrastructure BMPs for Groundwater Recharge, Stormwater Runoff Quality, and/or Stormwater Runoff Quantity |  |  |  |  |
| --- | --- | --- | --- | --- |
| Best Management Practice | Stormwater Runoff Quality TSS Removal Rate (percent) | Stormwater Runoff Quantity | Groundwater Recharge | Minimum Separation from Seasonal High-Water Table (feet) |
| Cistern | 0 | Yes | No | -- |
| Dry Well(a) | 0 | No | Yes | 2 |
| Grass Swale | 50 or less | No | No | 2(e) 1(f) |
| Green Roof | 0 | Yes | No | -- |
| Manufactured Treatment Device(a) (g) | 50 or 80 | No | No | Dependent upon the device |
| Pervious Paving System(a) | 80 | Yes | Yes(b) No(c) | 2(b) 1(c) |
| Small-Scale Bioretention Basin(a) | 80 or 90 | Yes | Yes(b) No(c) | 2(b) 1(c) |
| Small-Scale Infiltration Basin(a) | 80 | Yes | Yes | 2 |
| Small-Scale Sand Filter | 80 | Yes | Yes | 2 |
| Vegetative Filter Strip | 60-80 | No | No | -- |

(Notes corresponding to annotations (a) through (g) are found at the end of Table 3)

| Table 2 Green Infrastructure BMPs for Stormwater Runoff Quantity (or for Groundwater Recharge and/or Stormwater Runoff Quality with a Waiver or Variance from N.J.A.C. 7:8-5.3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Best Management Practice | Stormwater Runoff Quality TSS Removal Rate (percent) | Stormwater Runoff Quantity | Groundwater Recharge | Minimum Separation from Seasonal High Water Table (feet) |
| Bioretention System | 80 or 90 | Yes | Yes(b) No(c) | 2(b) 1(c) |
| Infiltration Basin | 80 | Yes | Yes | 2 |
| Sand Filter(b) | 80 | Yes | Yes | 2 |
| Standard Constructed Wetland | 90 | Yes | No | N/A |
| Wet Pond(d) | 50-90 | Yes | No | N/A |

(Notes corresponding to annotations (b) through (d) are found at the end of Table 3)

| Table 3 BMPs for Groundwater Recharge, Stormwater Runoff Quality, and/or Stormwater Runoff Quantity only with a Waiver or Variance from N.J.A.C. 7:8-5.3 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Best Management Practice | Stormwater Runoff Quality TSS Removal Rate (percent) | Stormwater Runoff Quantity | Groundwater Recharge | Minimum Separation from Seasonal High Water Table (feet) |
| Blue Roof | 0 | Yes | No | N/A |
| Extended Detention Basin | 40-60 | Yes | No | 1 |
| Manufactured Treatment Device(h) | 50 or 80 | No | No | Dependent upon the device |
| Sand Filter(c) | 80 | Yes | No | 1 |
| Subsurface Gravel Wetland | 90 | No | No | 1 |
| Wet Pond | 50-90 | Yes | No | N/A |

Notes to Tables 1, 2, and 3:

- subject to the applicable contributory drainage area limitation specified at division (D)(15)(b);

- designed to infiltrate into the subsoil;

(c) 	designed with underdrains;

(d) 	designed to maintain at least a 10-foot wide area of native vegetation along at least 50 percent of the shoreline and to include a stormwater runoff retention component designed to capture stormwater runoff for beneficial reuse, such as irrigation;

(e) 	designed with a slope of less than two percent;

(f) 	designed with a slope of equal to or greater than two percent;

(g)	manufactured treatment devices that meet the definition of green infrastructure at division (B);

(h)	manufactured treatment devices that do not meet the definition of green infrastructure at division (B).

    - An alternative stormwater management measure, alternative removal rate, and/or alternative method to calculate the removal rate may be used if the design engineer demonstrates the capability of the proposed alternative stormwater management measure and/or the validity of the alternative rate or method to the Township. A copy of any approved alternative stormwater management measure, alternative removal rate, and/or alternative method to calculate the removal rate shall be provided to the Department in accordance with division (F)(2). Alternative stormwater management measures may be used to satisfy the requirements at division (D)(15) only if the measures meet the definition of green infrastructure at division (B). Alternative stormwater management measures that function in a similar manner to a BMP listed at division (D)(15)(b) are subject to the contributory drainage area limitation specified at division (D)(15)(b) for that similarly functioning BMP. Alternative stormwater management measures approved in accordance with this subsection that do not function in a similar manner to any BMP listed at division (D)(15)(b) shall have a contributory drainage area less than or equal to 2.5 acres, except for alternative stormwater management measures that function similarly to cisterns, grass swales, green roofs, standard constructed wetlands, vegetative filter strips, and wet ponds, which are not subject to a contributory drainage area limitation. Alternative measures that function similarly to standard constructed wetlands or wet ponds shall not be used for compliance with the stormwater runoff quality standard unless a variance in accordance with N.J.A.C. 7:8-4.6 or a waiver from strict compliance in accordance with division (D)(4) is granted from division (D)(15).

    - Whenever the stormwater management design includes one or more BMPs that will infiltrate stormwater into subsoil, the design engineer shall assess the hydraulic impact on the groundwater table and design the site, so as to avoid adverse hydraulic impacts. Potential adverse hydraulic impacts include, but are not limited to, exacerbating a naturally or seasonally high-water table, so as to cause surficial ponding, flooding of basements, or interference with the proper operation of subsurface sewage disposal systems or other subsurface structures within the zone of influence of the groundwater mound, or interference with the proper functioning of the stormwater management measure itself.

    - Design standards for stormwater management measures are as follows:

      - Stormwater management measures shall be designed to take into account the existing site conditions, including, but not limited to, environmentally critical areas; wetlands; flood-prone areas; slopes; depth to seasonal high-water table; soil type, permeability, and texture; drainage area and drainage patterns; and the presence of solution-prone carbonate rocks (limestone);

      - Stormwater management measures shall be designed to minimize maintenance, facilitate maintenance and repairs, and ensure proper functioning. Trash racks shall be installed at the intake to the outlet structure, as appropriate, and shall have parallel bars with one inch spacing between the bars to the elevation of the water quality design storm. For elevations higher than the water quality design storm, the parallel bars at the outlet structure shall be spaced no greater than one-third the width of the diameter of the orifice or one-third the width of the weir, with a minimum spacing between bars of one inch and a maximum spacing between bars of six inches. In addition, the design of trash racks must comply with the requirements of division (H)(3);

      - Stormwater management measures shall be designed, constructed, and installed to be strong, durable, and corrosion resistant. Measures that are consistent with the relevant portions of the Residential Site Improvement Standards at N.J.A.C. 5:21-7.3, 7.4, and 7.5 shall be deemed to meet this requirement;

      - Stormwater management BMPs shall be designed to meet the minimum safety standards for stormwater management BMPs at division (H); and

      - The size of the orifice at the intake to the outlet from the stormwater management BMP shall be a minimum of two and one-half inches in diameter.

    - Manufactured treatment devices may be used to meet the requirements of this subchapter, provided the pollutant removal rates are verified by the New Jersey Corporation for Advanced Technology and certified by the Department. Manufactured treatment devices that do not meet the definition of green infrastructure at division (B) may be used only under the circumstances described at division (D)(15)(d).

    - Any application for a new agricultural development that meets the definition of major development at division (B) shall be submitted to the Soil Conservation District for review and approval in accordance with the requirements at divisions (D)(15), (D)(16), (D)(17) and (D)(18) and any applicable Soil Conservation District guidelines for stormwater runoff quantity and erosion control. For purposes of this subsection, "agricultural development" means land uses normally associated with the production of food, fiber, and livestock for sale. Such uses do not include the development of land for the processing or sale of food and the manufacture of agriculturally related products.

    - If there is more than one drainage area, the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards at divisions (D)(16), (D)(17) and (D)(18) shall be met in each drainage area, unless the runoff from the drainage areas converge onsite and no adverse environmental impact would occur as a result of compliance with any one or more of the individual standards being determined utilizing a weighted average of the results achieved for that individual standard across the affected drainage areas.

    - Any stormwater management measure authorized under the municipal stormwater management plan or ordinance shall be reflected in a deed notice recorded in the Camden County Clerk’s Office. A form of deed notice shall be submitted to the Township for approval prior to filing. The deed notice shall contain a description of the stormwater management measure(s) used to meet the green infrastructure, groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards at divisions (D)(15), (D)(16), (D)(17) and (D)(18) and shall identify the location of the stormwater management measure(s) in NAD 1983 State Plane New Jersey FIPS 2900 US Feet or Latitude and Longitude in decimal degrees. The deed notice shall also reference the maintenance plan required to be recorded upon the deed pursuant to division (J)(2)(e). Prior to the commencement of construction, proof that the above required deed notice has been filed shall be submitted to the Township. Proof that the required information has been recorded on the deed shall be in the form of either a copy of the complete recorded document or a receipt from the clerk or other proof of recordation provided by the recording office. However, if the initial proof provided to the Township is not a copy of the complete recorded document, a copy of the complete recorded document shall be provided to the Township within 180 calendar days of the authorization granted by the Township.

    - A stormwater management measure approved under the municipal stormwater management plan or ordinance may be altered or replaced with the approval of the Township, if the Township determines that the proposed alteration or replacement meets the design and performance standards pursuant to division (D) of this ordinance and provides the same level of stormwater management as the previously approved stormwater management measure that is being altered or replaced. If an alteration or replacement is approved, a revised deed notice shall be submitted to the Township for approval and subsequently recorded with the Camden County Clerk’s Office. and shall contain a description and location of the stormwater management measure, as well as reference to the maintenance plan, in accordance with division (D)(13) above. Prior to the commencement of construction, proof that the above required deed notice has been filed shall be submitted to the Township in accordance with division (D)(13) above.

    - Green Infrastructure Standards

      - This subsection specifies the types of green infrastructure BMPs that may be used to satisfy the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards.

      - To satisfy the groundwater recharge and stormwater runoff quality standards at divisions (D)(16) and (D)(17), the design engineer shall utilize green infrastructure BMPs identified in Table 1 at division (D)(6) and/or an alternative stormwater management measure approved in accordance with division (D)(7). The following green infrastructure BMPs are subject to the following maximum contributory drainage area limitations:

| Best Management Practice | Maximum Contributory Drainage Area |
| --- | --- |
| Dry Well | 1 acre |
| Manufactured Treatment Device | 2.5 acres |
| Pervious Pavement Systems | Area of additional inflow cannot exceed three times the area occupied by the BMP |
| Small-scale Bioretention Systems | 2.5 acres |
| Small-scale Infiltration Basin | 2.5 acres |
| Small-scale Sand Filter | - acres |

      - To satisfy the stormwater runoff quantity standards at division (D)(18), the design engineer shall utilize BMPs from Table 1 or from Table 2 and/or an alternative stormwater management measure approved in accordance with division (D)(7).

      - If a variance in accordance with N.J.A.C. 7:8-4.6 or a waiver from strict compliance in accordance with division (D)(4) is granted from the requirements of this subsection, then BMPs from Table 1, 2, or 3, and/or an alternative stormwater management measure approved in accordance with division (D)(7) may be used to meet the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards at  divisions (D)(16), (D)(17) and (D)(18).

      - For separate or combined storm sewer improvement projects, such as sewer separation, undertaken by a government agency or public utility (for example, a sewerage company), the requirements of this subsection shall only apply to areas owned in fee simple by the government agency or utility, and areas within a right-of-way or easement held or controlled by the government agency or utility; the entity shall not be required to obtain additional property or property rights to fully satisfy the requirements of this subsection. Regardless of the amount of area of a separate or combined storm sewer improvement project subject to the green infrastructure requirements of this subsection, each project shall fully comply with the applicable groundwater recharge, stormwater runoff quality control, and stormwater runoff quantity standards at division (D)(16), (D)(17) and (D)(18), unless the project is granted a waiver from strict compliance in accordance with division (D)(4).

    - Groundwater Recharge Standards

      - This subsection contains the minimum design and performance standards for groundwater recharge as follows:

      - The design engineer shall, using the assumptions and factors for stormwater runoff and groundwater recharge calculations at division (E), either:

      - Demonstrate through hydrologic and hydraulic analysis that the site and its stormwater management measures maintain 100 percent of the average annual pre-construction groundwater recharge volume for the site; or

      - Demonstrate through hydrologic and hydraulic analysis that the increase of stormwater runoff volume from pre-construction to post-construction for the 2-year storm is infiltrated.

      - This groundwater recharge requirement does not apply to projects within the “urban redevelopment area,” or to projects subject to division (D)(16)(d) below.

      - The following types of stormwater shall not be recharged:

      - Stormwater from areas of high pollutant loading. High pollutant loading areas are areas in industrial and commercial developments where solvents and/or petroleum products are loaded/unloaded, stored, or applied, areas where pesticides are loaded/unloaded or stored; areas where hazardous materials are expected to be present in greater than “reportable quantities” as defined by the United States Environmental Protection Agency (EPA) at 40 CFR 302.4; areas where recharge would be inconsistent with Department approved remedial action work plan or landfill closure plan and areas with high risks for spills of toxic materials, such as gas stations and vehicle maintenance facilities; and

      - Industrial stormwater exposed to “source material.” “Source material” means any material(s) or machinery, located at an industrial facility, that is directly or indirectly related to process, manufacturing or other industrial activities, which could be a source of pollutants in any industrial stormwater discharge to groundwater. Source materials include, but are not limited to, raw materials; intermediate products; final products; waste materials; by-products; industrial machinery and fuels, and lubricants, solvents, and detergents that are related to process, manufacturing, or other industrial activities that are exposed to stormwater.

    - Stormwater Runoff Quality Standards

      - This subsection contains the minimum design and performance standards to control stormwater runoff quality impacts of major development. Stormwater runoff quality standards are applicable when the major development results in an increase of one-quarter acre or more of regulated motor vehicle surface.

      - Stormwater management measures shall be designed to reduce the post-construction load of total suspended solids (TSS) in stormwater runoff generated from the water quality design storm as follows:

      - Eighty percent TSS removal of the anticipated load, expressed as an annual average shall be achieved for the stormwater runoff from the net increase of motor vehicle surface.

      - If the surface is considered regulated motor vehicle surface because the water quality treatment for an area of motor vehicle surface that is currently receiving water quality treatment either by vegetation or soil, by an existing stormwater management measure, or by treatment at a wastewater treatment plant is to be modified or removed, the project shall maintain or increase the existing TSS removal of the anticipated load expressed as an annual average.

      - The requirement to reduce TSS does not apply to any stormwater runoff in a discharge regulated under a numeric effluent limitation for TSS imposed under the New Jersey Pollutant Discharge Elimination System (NJPDES) rules, N.J.A.C. 7:14A, or in a discharge specifically exempt under a NJPDES permit from this requirement. Every major development, including any that discharge into a combined sewer system, shall comply with division (D)(17)(b) above, unless the major development is itself subject to a NJPDES permit with a numeric effluent limitation for TSS or the NJPDES permit to which the major development is subject exempts the development from a numeric effluent limitation for TSS.

      - The water quality design storm is 1.25 inches of rainfall in two hours. Water quality calculations shall take into account the distribution of rain from the water quality design storm, as reflected in Table 4, below. The calculation of the volume of runoff may take into account the implementation of stormwater management measures.

Table 4 - Water Quality Design Storm Distribution

      - If more than one BMP in series is necessary to achieve the required eighty (80%) percent TSS reduction for a site, the applicant shall utilize the following formula to calculate TSS reduction:

R = A + B - (AXB)/100

Where:

R = Total TSS percent load removal from application of both BMPs, and

A = The TSS percent removal rate applicable to the first BMP

B = The TSS percent removal rate applicable to the second BMP

      - Stormwater management measures shall also be designed to reduce, to the maximum extent feasible, the post-construction nutrient load of the anticipated load from the developed site in stormwater runoff generated from the water quality design storm. In achieving reduction of nutrients to the maximum extent feasible, the design of the site shall include green infrastructure BMPs that optimize nutrient removal while still achieving the performance standards in divisions (D)(16), (D)(17) and (D)(18).

      - In accordance with the definition of FW1 at N.J.A.C. 7:9B1.4, stormwater management measures shall be designed to prevent any increase in stormwater runoff to waters classified as FW1.

      - The Flood Hazard Area Control Act Rules at N.J.A.C. 7:13-4.1(c)1 establish 300-foot riparian zones along Category One waters, as designated in the Surface Water Quality Standards at N.J.A.C. 7:9B, and certain upstream tributaries to Category One waters. A person shall not undertake a major development that is located within or discharges into a 300-foot riparian zone without prior authorization from the Department under N.J.A.C. 7:13.

      - Pursuant to the Flood Hazard Area Control Act Rules at N.J.A.C. 7:13-11.2(j)3.i, runoff from the water quality design storm that is discharged within a 300-foot riparian zone shall be treated in accordance with this subsection to reduce the post-construction load of total suspended solids by 95 percent of the anticipated load from the developed site, expressed as an annual average.

      - This stormwater runoff quality standards do not apply to the construction of one individual single-family dwelling, provide that is not part of a larger development or subdivision that has received preliminary or final site plan approval prior to December 3, 2018 and that the motor vehicle surfaces are made of permeable material(s) such as gravel, dirt, and/or shells.

    - Stormwater Runoff Quantity Standards

      - This subsection contains the minimum design and performance standards to control stormwater runoff quantity impacts of major development.

      - In order to control stormwater runoff quantity impacts, the design engineer shall, using the assumptions and factors for stormwater runoff calculations at division (E), complete one of the following:

- Demonstrate through hydrologic and hydraulic analysis that for stormwater leaving the site, post-construction runoff hydrographs for the 2-, 10-, and 100-year storm events do not exceed, at any point in time, the pre-construction runoff hydrographs for the same storm events;

- Demonstrate through hydrologic and hydraulic analysis that there is no increase, as compared to the pre-construction condition, in the peak runoff rates of stormwater leaving the site for the 2-, 10- and 100-year storm events and that the increased volume or change in timing of stormwater runoff will not increase flood damage at or downstream of the site. This analysis shall include the analysis of impacts of existing land uses and projected land uses assuming full development under existing zoning and land use ordinances in the drainage area;

- Design stormwater management measures so that the post-construction peak runoff rates for the 2-, 10- and 100-year storm events are 50, 75 and 80 percent, respectively, of the pre-construction peak runoff rates. The percentages apply only to the post-construction stormwater runoff that is attributable to the portion of the site on which the proposed development or project is to be constructed; or

- In tidal flood hazard areas, stormwater runoff quantity analysis in accordance with division (D)(18)(b)1, 2, and 3 above is required unless the design engineer demonstrates through hydrologic and hydraulic analysis that the increased volume, change in timing, or increased rate of the stormwater runoff, or any combination of the three will not result in additional flood damage below the point of discharge of the major development. No analysis is required if the stormwater is discharged directly into any ocean, bay, inlet, or the reach of any watercourse between its confluence with an ocean, bay, or inlet and downstream of the first water control structure.

      - The stormwater runoff quantity standards shall be applied at the site’s boundary to each abutting lot, roadway, watercourse, or receiving storm sewer system.

(E) Calculation of Stormwater Runoff and Groundwater Recharge:

- Stormwater runoff shall be calculated in accordance with the following:

- The design engineer shall calculate runoff using one of the following methods:

      - The USDA Natural Resources Conservation Service (NRCS) methodology, including the NRCS Runoff Equation and Dimensionless Unit Hydrograph, as described in Chapters 7, 9, 10, 15 and 16 Part 630, Hydrology National Engineering Handbook, incorporated herein by reference as amended and supplemented. This methodology is additionally described in Technical Release 55 - Urban Hydrology for Small Watersheds (TR-55), dated June 1986, incorporated herein by reference as amended and supplemented. Information regarding the methodology is available from the Natural Resources Conservation Service website at:

https://www.nrcs.usda.gov/Internet/FSE_DOCUMENTS/stelprdb1044171.pdf

or at United States Department of Agriculture Natural Resources Conservation Service, 220 Davison Avenue, Somerset, New Jersey 08873; or

      - The Rational Method for peak flow and the Modified Rational Method for hydrograph computations. The rational and modified rational methods are described in "Appendix A-9 Modified Rational Method" in the Standards for Soil Erosion and Sediment Control in New Jersey, January 2014. This document is available from the State Soil Conservation Committee or any of the Soil Conservation Districts listed at N.J.A.C. 2:90-1.3(a)3. The location, address, and telephone number for each Soil Conservation District is available from the State Soil Conservation Committee, PO Box 330, Trenton, New Jersey 08625. The document is also available at:

http://www.nj.gov/agriculture/divisions/anr/pdf/2014NJSoilErosionControlStandardsComplete.pdf.

- For the purpose of calculating runoff coefficients and groundwater recharge, there is a presumption that the pre-construction condition of a site or portion thereof is a wooded land use with good hydrologic condition. The term “runoff coefficient” applies to both the NRCS methodology above at division (E)(1)(a)1 and the Rational and Modified Rational Methods at division (E)(1)(a)2. A runoff coefficient or a groundwater recharge land cover for an existing condition may be used on all or a portion of the site if the design engineer verifies that the hydrologic condition has existed on the site or portion of the site for at least five years without interruption prior to the time of application. If more than one land cover has existed on the site during the five years immediately prior to the time of application, the land cover with the lowest runoff potential shall be used for the computations. In addition, there is the presumption that the site is in good hydrologic condition (if the land use type is pasture, lawn, or park), with good cover (if the land use type is woods), or with good hydrologic condition and conservation treatment (if the land use type is cultivation).

- In computing pre-construction stormwater runoff, the design engineer shall account for all significant land features and structures, such as ponds, wetlands, depressions, hedgerows, or culverts, that may reduce pre-construction stormwater runoff rates and volumes.

- In computing stormwater runoff from all design storms, the design engineer shall consider the relative stormwater runoff rates and/or volumes of pervious and impervious surfaces separately to accurately compute the rates and volume of stormwater runoff from the site. To calculate runoff from unconnected impervious cover, urban impervious area modifications as described in the NRCS Technical Release 55 – Urban Hydrology for Small Watersheds or other methods may be employed.

- If the invert of the outlet structure of a stormwater management measure is below the flood hazard design flood elevation as defined at N.J.A.C. 7:13, the design engineer shall take into account the effects of tailwater in the design of structural stormwater management measures.

- Groundwater recharge may be calculated in accordance with the following:

The New Jersey Geological Survey Report GSR-32, A Method for Evaluating Groundwater-Recharge Areas in New Jersey, incorporated herein by reference as amended and supplemented. Information regarding the methodology is available from the New Jersey Stormwater Best Management Practices Manual; at the New Jersey Geological Survey website at:

https://www.nj.gov/dep/njgs/pricelst/gsreport/gsr32.pdf

or at New Jersey Geological and Water Survey, 29 Arctic Parkway, PO Box 420 Mail Code 29-01, Trenton, New Jersey 08625-0420.

- Sources for technical guidance.

  - Technical guidance for stormwater management measures can be found in the documents listed below, which are available to download from the Department’s website at: http://www.nj.gov/dep/stormwater/bmp_manual2.htm.

    - Guidelines for stormwater management measures are contained in the New Jersey Stormwater Best Management Practices Manual, as amended and supplemented. Information is provided on stormwater management measures such as, but not limited to those provided in Tables 1, 2, and 3.

    - Additional maintenance guidance is available on the Department’s website at:

http://www.njstormwater.org/maintenance_guidance.htm.

  - Submissions required for review by the Department should be mailed to: The Division of Water Quality, New Jersey Department of Environmental Protection, Mail Code 401-02B, PO Box 420, Trenton, NJ 08625-0420.

- Solids and Floatable Materials Control Standards:

- Site design features identified under division (D)(6) above, or alternative designs in accordance with division (D)(7) above, to prevent discharge of trash and debris from drainage systems shall comply with the following standard to control passage of solid and floatable materials through storm drain inlets. For purposes of this paragraph, “solid and floatable materials” means sediment, debris, trash, and other floating, suspended, or settleable solids. For exemptions to this standard see division (G)(1)(b) below.

    - Design engineers shall use one of the following grates whenever they use a grate in pavement or another ground surface to collect stormwater from that surface into a storm drain or surface water body under that grate:

      - The New Jersey Department of Transportation (NJDOT) bicycle safe grate, which is described in Chapter 2.4 of the NJDOT Bicycle Compatible Roadways and Bikeways Planning and Design Guidelines; or

      - A different grate, if each individual clear space in that grate has an area of no more than seven (7.0) square inches or is no greater than 0.5 inches across the smallest dimension.

Examples of grates subject to this standard include grates in grate inlets, the grate portion (non-curb-opening portion) of combination inlets, grates on storm sewer manholes, ditch grates, trench grates, and grates of spacer bars in slotted drains. Examples of ground surfaces include surfaces of roads (including bridges), driveways, parking areas, bikeways, plazas, sidewalks, lawns, fields, open channels, and stormwater system floors used to collect stormwater from the surface into a storm drain or surface water body.

      - For curb-opening inlets, including curb-opening inlets in combination inlets, the clear space in that curb opening, or each individual clear space if the curb opening has two or more clear spaces, shall have an area of no more than seven (7.0) square inches, or be no greater than two (2.0) inches across the smallest dimension.

    - The standard in division (G)(1)(a) above does not apply:

      - Where each individual clear space in the curb opening in existing curb-opening inlet does not have an area of more than nine (9.0) square inches;

      - Where the Township agrees that the standards would cause inadequate hydraulic performance that could not practicably be overcome by using additional or larger storm drain inlets;

Where flows from the water quality design storm as specified in N.J.A.C. 7:8 are conveyed through any device (e.g., end of pipe netting facility, manufactured treatment device, or a catch basin hood) that is designed, at a minimum, to prevent delivery of all solid and floatable materials that could not pass through one of the following:

  - A rectangular space four and five-eighths (4.625) inches long and one and one-half (1.5) inches wide (this option does not apply for outfall netting facilities); or

- A bar screen having a bar spacing of 0.5 inches.

Note that these exemptions do not authorize any infringement of requirements in the Residential Site Improvement Standards for bicycle safe grates in new residential development (N.J.A.C. 5:21-4.18(b)2 and 7.4(b)1).

      - Where flows are conveyed through a trash rack that has parallel bars with one inch (1 inch) spacing between the bars, to the elevation of the Water Quality Design Storm as specified in N.J.A.C. 7:8; or

      - Where the New Jersey Department of Environmental Protection determines, pursuant to the New Jersey Register of Historic Places Rules at N.J.A.C. 7:4-7.2(c), that action to meet this standard is an undertaking that constitutes an encroachment or will damage or destroy the New Jersey Register listed historic property.

- Safety standards for stormwater management basins.

- This section sets forth requirements to protect public safety through the proper design and operation of stormwater management basins. This section applies to any new stormwater management BMP.

- The provisions of this section are not intended to preempt more stringent municipal or county safety requirements for new or existing stormwater management BMPs. Municipal and county stormwater management plans and ordinances may, pursuant to their authority, require existing stormwater management BMPs to be retrofitted to meet one or more of the safety standards in divisions (H)(3)(a), (H)(3)(b), and (H)(3)(c) for trash racks, overflow grates, and escape provisions at outlet structures.

- Requirements for trash racks, overflow grates and escape provisions.

    - A trash rack is a device designed to catch trash and debris and prevent the clogging of outlet structures. Trash racks shall be installed at the intake to the outlet from the stormwater management BMP to ensure proper functioning of the BMP outlets in accordance with the following:

      - The trash rack shall have parallel bars, with no greater than six-inch spacing between the bars.

      - The trash rack shall be designed so as not to adversely affect the hydraulic performance of the outlet pipe or structure.

      - The average velocity of flow through a clean trash rack is not to exceed 2.5 feet per second under the full range of stage and discharge. Velocity is to be computed on the basis of the net area of opening through the rack.

      - The trash rack shall be constructed and installed to be rigid, durable, and corrosion resistant, and shall be designed to withstand a perpendicular live loading of 300 lbs/SF.

      - The design engineer shall consider shapes and location of trash racks that are lower maintenance and do not impact the functionality of the outlet structure. For example, vertical trash racks or small trash racks in the vicinity of an orifice or weir tend to become obstructed.

    - An overflow grate is designed to prevent obstruction of the overflow structure. If an outlet structure has an overflow grate, such grate shall meet the following requirements:

      - The overflow grate shall be secured to the outlet structure but removable for emergencies and maintenance.

      - The overflow grate spacing shall be no less than two inches across the smallest dimension.

      - The overflow grate shall be constructed and installed to be rigid, durable, and corrosion resistant, and shall be designed to withstand a perpendicular live loading of 300 lbs./ft sq.

      - The overflow grates shall be set at least 3 inches above the highest expected water level as outlined in the design. If the inclusion of the overflow grate cannot be set above the highest expected water level in the design, a trash rack shall be specified instead.

    - Stormwater management basins shall include escape provisions as follows:

      - If a stormwater management BMP has an outlet structure, escape provisions shall be incorporated in or on the structure. Escape provisions include the installation of permanent ladders, steps, rungs, or other features that provide easily accessible means of egress from stormwater management BMPs. With the prior approval of the reviewing agency identified in division (H)(3), a free-standing outlet structure may be exempted from this requirement.

      - Safety ledges shall be constructed on the slopes of all new stormwater management BMPs having a permanent pool of water deeper than two and one-half feet. Such safety ledges shall be comprised of two steps. Each step shall be four to six feet in width. One step shall be located approximately two and one-half feet below the permanent water surface, and the second step shall be located one to one and one-half feet above the permanent water surface. See division (H)(5) below for an illustration of safety ledges in a stormwater management BMP; and

      - In new stormwater management basins, the maximum interior slope for an earthen dam, embankment, or berm shall not be steeper than three horizontal to one vertical.

- Variance or exemption from safety standards. A variance or exemption from the safety standards for stormwater management BMPs may be granted only upon a written finding by the appropriate reviewing agency (Voorhees Township, Burlington County or Department) that the variance or exemption will not constitute a threat to public safety.

- Safety Ledge Illustration.

Elevation View –Basin Safety Ledge Configuration

- Requirements for a Site Development Stormwater Plan.

  - Submission of site development stormwater plan.

    - Whenever an applicant seeks municipal approval of a development subject to this section, the applicant shall submit all of the required components of the Checklist for the Site Development Stormwater Plan at division (I)(3) below as part of the submission of the application for approval.

    - The applicant shall demonstrate that the project meets the standards set forth in this section.

    - The applicant shall submit fifteen (15) double-sided paper copies and one electronic copy in PDF format of the materials listed in the checklist for site development stormwater plans in accordance with division (I)(3) below.

  - Site development stormwater plan approval. The applicant's site development project shall be reviewed as a part of the review process by the municipal board or official from which municipal approval is sought. That municipal board or official shall consult the review engineer retained by the Planning and/or Zoning Board (as appropriate) to determine if all of the checklist requirements have been satisfied and to determine if the project meets the standards set forth in this section.

  - Submission of Site Development Stormwater Plan. The following information shall be required:

    - Topographic base map. The reviewing engineer may require upstream tributary drainage system information as necessary. It is recommended that the topographic base map of the site be submitted which extends a minimum of 200 feet beyond the limits of the proposed development, at a scale of 1"=200' or greater, showing two-foot contour intervals. The map as appropriate may indicate the following: existing surface water drainage, shorelines, steep slopes, soils, erodible soils, perennial or intermittent streams that drain into or upstream of the Category One waters, wetlands and flood plains along with their appropriate buffer strips, marshlands and other wetlands, pervious or vegetative surfaces, existing man-made structures, roads, bearing and distances of property lines, and significant natural and manmade features not otherwise shown.

    - Environmental site analysis. A written and graphic description of the natural and man-made features of the site and its surroundings should be submitted. This description should include a discussion of soil conditions, slopes, wetlands, waterways and vegetation on the site. Particular attention should be given to unique, unusual, or environmentally sensitive features and to those that provide particular opportunities or constraints for development.

    - Project description and site plan(s). A map (or maps) at the scale of the topographical base map indicating the location of existing and proposed buildings, roads, parking areas, utilities, structural facilities for stormwater management and sediment control, and other permanent structures. The map(s) shall also clearly show areas where alterations will occur in the natural terrain and cover, including lawns and other landscaping, and seasonal high ground water elevations. A written description of the site plan and justification of proposed changes in natural conditions may also be provided.

    - Land use planning and source control plan. This plan shall provide a demonstration of how the goals and standards of divisions (C) through (E) above are being met. The focus of this plan shall be to describe how the site is being developed to meet the objective of controlling groundwater recharge, stormwater quality and stormwater quantity problems at the source by land management and source controls whenever possible.

    - Stormwater management facilities map. The following information, illustrated on a map of the same scale as the topographic base map, shall be included:

      - Total area to be paved or built upon, proposed surface contours, land area to be occupied by the stormwater management facilities and the type of vegetation thereon, and details of the proposed plan to control and dispose of stormwater.

      - Details of all stormwater management facility designs, during and after construction, including discharge provisions, discharge capacity for each outlet at different levels of detention and emergency spillway provisions with maximum discharge capacity of each spillway.

    - Calculations.

      - Comprehensive hydrologic and hydraulic design calculations for the pre-development and post-development conditions for the design storms specified in division (D) above.

      - When the proposed stormwater management control measures depend on the hydrologic properties of soils or require a certain separation from the seasonal high-water table, then a soils report shall be submitted. The soils report shall be based on onsite boring logs or soil pit profiles. The number and location of required soil borings or soil pits shall be determined based on what is needed to determine the suitability and distribution of soils present at the location of the control measure.

    - Maintenance and repair plan. The design and planning of the stormwater management facility shall meet the maintenance requirements of division (J).

    - Waiver from submission requirements. The municipal official or board reviewing an application under this ordinance may, in consultation with the Township engineer, waive submission of any of the requirements in divisions (I)(3)(a) through (f) above when it can be demonstrated that the information requested is impossible to obtain or it would create a hardship on the applicant to obtain and its absence will not materially affect the review process.

- Maintenance and repair.

  - Applicability. Projects subject to review as in division (A)(3) above shall comply with the requirements of divisions (J)(2) and (J)(3) below.

  - General maintenance.

    - The design engineer shall prepare a maintenance plan for the stormwater management measures incorporated into the design of a major development.

    - The maintenance plan shall contain specific preventative maintenance tasks and schedules; cost estimates, including estimated cost of sediment, debris, or trash removal; and the name, address, and telephone number of the person or persons responsible for preventative and corrective maintenance (including replacement). The plan shall contain information on BMP location, design, ownership, maintenance tasks and frequencies, and other details specified in Chapter 8 of the NJ BMP Manual, as well as the tasks specific to the type of BMP, as described in the applicable chapter containing design specifics.

    - If the maintenance plan identifies a person other than the property owner (for example, a developer, a public agency or homeowners' association) as having the responsibility for maintenance, the plan shall include documentation of such person's or entity’s agreement to assume this responsibility, or of the owner's obligation to dedicate a stormwater management facility to such person under an applicable ordinance or regulation.

    - Responsibility for maintenance shall not be assigned or transferred to the owner or tenant of an individual property in a residential development or project, unless such owner or tenant owns or leases the entire residential development or project. The individual property owner may be assigned incidental tasks, such as weeding of a green infrastructure BMP, provided the individual agrees to assume these tasks; however, the individual cannot be legally responsible for all of the maintenance required. If the person responsible for maintenance identified under division (J)(2)(b) above is not a public agency, the maintenance plan and any future revisions based on division (J)(2)(8) below shall be recorded upon the deed of record for each property on which the maintenance described in the maintenance plan must be undertaken.

    - If the party responsible for maintenance identified under division (J)(2)(c) above is not a public agency, the maintenance plan and any future revisions based on division (J)(2)(g) below shall be recorded upon the deed of record for each property on which the maintenance described in the maintenance plan must be undertaken.

    - Preventative and corrective maintenance shall be performed to maintain the functional parameters (storage volume, infiltration rates, inflow/outflow capacity, etc.) of the stormwater management measure, including, but not limited to, repairs or replacement to the structure; removal of sediment, debris, or trash; restoration of eroded areas; snow and ice removal; fence repair or replacement; restoration of vegetation; and repair or replacement of non-vegetated linings.

    - The party responsible for the maintenance identified under Section (J)(2)(c) above shall perform all of the following requirements:

      - maintain a detailed log of all preventative and corrective maintenance for the structural stormwater management measures incorporated into the design of the development, including a record of all inspections and copies of all maintenance-related work orders;

      - evaluate the effectiveness of the maintenance plan at least once per year and adjust the plan and the deed as needed; and

      - retain and make available, upon request by any public entity with administrative, health, environmental, or safety authority over the site, the maintenance plan and the documentation required by divisions (J)(2)(f) and (J)(2)(g) above.

    - The requirements of divisions (J)(2)(c) and (d) above do not apply to stormwater management facilities that are dedicated to and accepted by the municipality or another governmental agency, subject to all applicable municipal stormwater general permit conditions, as issued by the Department.

    - In the event that the stormwater management facility becomes a danger to public safety or public health, or if it is in need of maintenance or repair, the municipality shall so notify the responsible person in writing. Upon receipt of that notice, the responsible person shall have 14 days to effect maintenance and repair of the facility in a manner that is approved by the municipal engineer or his designee. The municipality, in its discretion, may extend the time allowed for effecting maintenance and repair for good cause. If the responsible person fails or refuses to perform such maintenance and repair, the municipality or county may immediately proceed to do so and shall bill the cost thereof to the responsible person.

  - Nothing in this section shall preclude the municipality in which the major development is located from requiring the posting of a performance or maintenance guarantee in accordance with N.J.S.A. 40:55D-53.

- Penalties.

Any person who erects, constructs, alters, repairs, converts, maintains, or uses any building, structure or land in violation of this section shall be subject to the following penalties: A fine of $1000 for each offense.

- Severability.

Each section, subsection, sentence, clause and phrase of this division is declared to be an independent section, subsection, sentence, clause and phrase, and the finding or holding of any such portion of this division to be unconstitutional, void, or ineffective for any cause, or reason, shall not affect any other portion of this division.

- Effective Date.

This ordinance shall be in full force and effect from and after its adoption and any publication required by law.

RESOLUTION NO. 96-21

RESOLUTION MEMORIALIZING AN EXECUTIVE SESSION

WHEREAS, the Open Public Meetings Act (N.J.S.A. 10:4-6 et seq.) requires all meetings of the Township of Voorhees to be held in public, except as set forth in N.J.S.A. 10:4-12(b) which provides for nine (9) types of matters that may lawfully be discussed in “Executive Session,” i.e. without the public being permitted to attend; and

WHEREAS, the Township of Voorhees has determined that certain issues set forth below are permitted by N.J.S.A. 10:4-12(b) to be discussed without the public in attendance were discussed during an Executive Session held on March 15, 2021 at approximately 6:30 p.m.; and

WHEREAS, the nine (9) exceptions to public meetings set forth in N.J.S.A. 10:4-12(b) are listed below, and the items to be privately discussed that fall within such exceptions shall be identified and written, and after each exception is a space where additional information that will disclose as much information about the discussion as possible without undermining the purpose of the exception as follows:

“(1) Any matter which, by express provision of Federal law, State statute or rule of court shall be rendered confidential or excluded from public discussion.”  The legal citation to the provision(s) at issue is: __________________________ and the nature of the matter, described as specifically as possible without undermining the need for confidentiality is;

“(2) Any matter in which the release of information would impair a right to receive funds from the federal government.” The nature of the matter, described as specifically as possible without undermining the need for confidentiality is;

“(3) Any material the disclosure of which constitutes an unwarranted invasion of individual privacy such as any records, data, reports, recommendations, or other personal material of any educational, training, social service, medical, health, custodial, child protection, rehabilitation, legal defense, welfare, housing, relocation, insurance and similar program or institution operated by a public body pertaining to any specific individual admitted to or served by such institution or program, including but not limited to information relative to the individual's personal and family circumstances, and any material pertaining to admission, discharge, treatment, progress or condition of any individual, unless the individual concerned (or, in the case of a minor or incompetent, his guardian) shall request in writing that the same be disclosed publicly.”  The nature of the matter, described as specifically as possible without undermining the need for confidentiality is;

X

“(4) Any collective bargaining agreement, or the terms and conditions of which are proposed for inclusion in any collective bargaining agreement, including the negotiation of terms and conditions with employees or representatives of employees of the public body” The collective bargaining contract(s) discussed are between the public body and the Police Chief’s Contract;

“(5) Any matter involving the purchase, lease or acquisition of real property with public funds, the setting of bank rates or investment of public funds where it could adversely affect the public interest if discussion of such matters were disclosed.”  The nature of the matter, described as specifically as possible without undermining the need for confidentiality is;

“(6) Any tactics and techniques utilized in protecting the safety and property of the public provided that their disclosure could impair such protection. Any investigations of violations or possible violations of the law.”  The nature of the matter, described as specifically as possible without undermining the need for confidentiality is;

“(7) Any pending or anticipated litigation or contract negotiation in which the public body is or may become a party. Any matters falling within the attorney-client privilege, to the extent that confidentiality is required in order for the attorney to exercise his ethical duties as a lawyer.”  The parties to and docket numbers of each item of litigation and/or the parties to each contract discussed:

(8) Any matter involving the employment, appointment, termination of employment, terms and conditions of employment, evaluation of the performance, promotion or disciplining of any specific prospective public officer or employee or current public officer or employee employed or appointed by the public body, unless all individual employees or appointees whose rights could be adversely affected request in writing that such matter or matters be discussed at a public meeting.”  The employee(s) and/or title(s) and nature of the discussion, described as specifically as possible without undermining the need for confidentiality are:

“(9) Any deliberation of a public body occurring after a public hearing that may result in the imposition of a specific civil penalty upon the responding party or the suspension or loss of a license or permit belonging to the responding party as a result of an act of omission for which the responding party bears responsibility.”  The nature of the matter, described as specifically as possible without undermining the need for confidentiality is;

NOW, THEREFORE, BE IT RESOLVED that the Township of Voorhees entered into Executive Session for only the above stated reasons at their regular meeting caucus of March 15, 2021.

BE IT FURTHER RESOLVED that the Township hereby declares that its discussion of the aforementioned subject(s) will be made public at a time when the need for confidentiality no longer exists, or the public’s interest in disclosure is greater than any privacy or governmental interest being protected from disclosure.

BE IT FURTHER RESOLVED that the Township Clerk/Township Solicitor, shall read aloud enough of this resolution so that members of the public in attendance can understand, as precisely as possible, the nature of the matters that were privately discussed.

BE IT FURTHER RESOLVED that the Township Clerk, on the next business day following this meeting, shall furnish a copy of this resolution to any member of the public who requests one at the fees allowed by N.J.S.A. 47:1A-1 et seq.

DATED:  MARCH 22, 2021		MOTION:

AYES:               			SECONDED:

NAYS: 					APPROVED BY:  __________________________

Michael R. Mignogna, Mayor

I, Dee Ober, Municipal Clerk of the Township of Voorhees hereby certify the foregoing to be a true and correct copy of a resolution adopted by the Mayor and Township Committee of the Township of Voorhees at their meeting of March 22, 2021 held in the Municipal Building, 2400 Voorhees Town Center, Voorhees, NJ  08043

____________________________

Dee Ober, RMC

Township Clerk

RESOLUTION NO. 97-21

AUTHORIZING THE TAX COLLECTOR TO CONDUCT AN ELECTRONIC TAX SALE FOR 2020 THROUGH REALAUCTION.COM, LLC

WHEREAS, N.J.S.A. 54:5-19.1 authorizes electronic tax sales pursuant to rules and regulations to be promulgated by the Director of the Division of Local Government Services, and

WHEREAS, an electronic tax sale is innovative and provides a greater pool of potential lien buyers, thus creating the environment for a more complete tax sale process; and

WHEREAS, for the above reasons, the Township of Voorhees desires to participate in an electronic tax sale, and

WHEREAS, having determined that RealAuction.com LLC meets the guidelines required by the State of NJ and the Township of Voorhees to conduct electronic tax sales.

NOW, THEREFORE, BE IT RESOLVED, by the Committee of the Township of Voorhees, that the Tax Collector is hereby authorized to conduct an Electronic Tax Sale for the year 2021 using RealAuction.com LLC.

DATED:  MARCH 22, 2021		MOTION:

AYES:               			SECONDED:

NAYS: 					APPROVED BY:  __________________________

Michael R. Mignogna, Mayor

I, Dee Ober, Municipal Clerk of the Township of Voorhees hereby certify the foregoing to be a true and correct copy of a resolution adopted by the Mayor and Township Committee of the Township of Voorhees at their meeting of March 22, 2021 held in the Municipal Building, 2400 Voorhees Town Center, Voorhees, NJ  08043

____________________________

Dee Ober, RMC

Township Clerk

RESOLUTION NO. 98-21

ADJUSTING RECORDS OF THE TAX ASSESSOR

WHEREAS, the following homeowners have applied for and have been approved for deductions for tax year 2021; and

BLOCK/LOT/QUAL   	OWNER                        YEAR/DEDUCTION/AMOUNT

270/54        			Gallagher, Joan P       	2021/Widow of Vet/250.00

206.02/39     			Caberto, Wilfredo M      2021/Veteran/250.00

213.04/94     			Krause, Michelle        	2021/Veteran/250.00

WHEREAS, said deductions have been entered for tax year 2022.

NOW, THEREFORE, BE IT RESOLVED by the Mayor and Township Committee of the Township of Voorhees that the following accounts be adjusted by the Tax Collector for the amounts shown for tax year 2021 per NJSA 54:4-8.40 et seq. for Senior Citizen, Surviving Spouse or Permanently & Totally Disabled or per NJSA 54:4-8.10 et seq. for Veteran or Surviving Spouse(s) of Veteran.

DATED:  MARCH 22, 2021		MOTION:

AYES:               			SECONDED:

NAYS: 					APPROVED BY:  __________________________

Michael R. Mignogna, Mayor

I, Dee Ober, Municipal Clerk of the Township of Voorhees hereby certify the foregoing to be a true and correct copy of a resolution adopted by the Mayor and Township Committee of the Township of Voorhees at their meeting of March 22, 2021 held in the Municipal Building, 2400 Voorhees Town Center, Voorhees, NJ  08043

____________________________

Dee Ober, RMC

Township Clerk

RESOLUTION NO. 99-21

AUTHORIZING TRANSFERS BETWEEN 2020 APPROPRIATION RESERVES

DATED:  MARCH 22, 2021		MOTION:

AYES:               			SECONDED:

NAYS: 					APPROVED BY:  __________________________

Michael R. Mignogna, Mayor

I, Dee Ober, Municipal Clerk of the Township of Voorhees hereby certify the foregoing to be a true and correct copy of a resolution adopted by the Mayor and Township Committee of the Township of Voorhees at their meeting of March 22, 2021 held in the Municipal Building, 2400 Voorhees Town Center, Voorhees, NJ  08043

____________________________

Dee Ober, RMC

Township Clerk

RESOLUTION NO. 100-21

# PURCHASES THROUGH STATE CONTRACT

WHEREAS, N.J.S.A. 40A:11-12 allows municipalities, without advertising for bids, to purchase materials, supplies or equipment under any contract entered into on behalf of the State Department of the Treasury, Division of Purchase and Property;

NOW, THEREFORE, BE IT RESOLVED by the Mayor and Township Committee, that pursuant to N.J.S.A. 40A:11-12, the following State Contract purchase of eight (8) 2022 Chevrolet Tahoes for the Police Department be awarded in the amount of $318,220.80.

## VENDOR			CONTRACT #		PRODUCT

Mall Chevrolet		20-FLEET-01391		Sport utility vehicles

DATED:  MARCH 22, 2021		MOTION:

AYES:               			SECONDED:

NAYS: 				APPROVED BY:  __________________________

Michael R. Mignogna, Mayor

I, Dee Ober, Municipal Clerk of the Township of Voorhees hereby certify the foregoing to be a true and correct copy of a resolution adopted by the Mayor and Township Committee of the Township of Voorhees at their meeting of March 22, 2021 held in the Municipal Building, 2400 Voorhees Town Center, Voorhees, NJ  08043

____________________________

Dee Ober, RMC

Township Clerk

RESOLUTION NO. 101-21

AWARDING THE CONTRACT FOR THE AVIAN PUMP STATION IMPROVEMENTS PROJECT TO TKT CONSTRUCTION CO., INC.

WHEREAS, the Township of Voorhees (“Township” and/ or “Voorhees”) prepared specifications and received bids for the Avian Pump Station Improvements project in accordance with the Local Public Contracts law; and

WHEREAS, the Township received six (6) bids for the contract on March 11, 2021 at 2:00 p.m. as follows:

VENDOR					TOTAL AMOUNT BID

1. TKT Construction Co., Inc. 		$357,765.00

2. BR Welding, Inc. 				$361,125.00

3. MBE Mark III General Contractors	$369,550.00

4. Municipal Maintenance Co. 		$375,447.00

5. Sub Level Installations 			$390,200.00

6. T&T Commonwealth Construction Co.	$574,125.00

WHEREAS, the bids were reviewed by Luis I. Garcia, P.E., from Churchill Consulting Engineers on behalf of the Township who, via letter opinion dated March 16, 2021, recommended the award of the contract to TKT Construction Co., Inc. as the bid complied with the specifications from a technical perspective; and

WHEREAS, the bids were reviewed the Township Solicitor, who via opinion letter dated March 17, 2021, opined that the bid submitted by TKT Construction Co., Inc. complied with the specifications from a legal perspective and recommended the award of the bid to TKT Construction Co., Inc.; and

WHEREAS, the Township Administrator concurs with the above recommendations.

NOW THEREFORE BE IT RESOLVED by the Township Committee of the Township of Voorhees, County of Camden and State of New Jersey, that:

- The provisions of the WHEREAS clauses set forth above are incorporated herein by reference and made a part hereof.

- The contract for the Avian Pump Station Improvements project on behalf of the Township of Voorhees is hereby awarded to TKT Construction Co., Inc.

- The Mayor, Township Administrator or their designees are hereby authorized and directed to take any and all steps necessary to effectuate the award of this contract.

- Funds are available for the payment of this contract.

DATED:  MARCH 22, 2021		MOTION:

AYES:               			SECONDED:

NAYS: 					APPROVED BY:  __________________________

Michael R. Mignogna, Mayor

I, Dee Ober, Municipal Clerk of the Township of Voorhees hereby certify the foregoing to be a true and correct copy of a resolution adopted by the Mayor and Township Committee of the Township of Voorhees at their meeting of March 22, 2021 held in the Municipal Building, 2400 Voorhees Town Center, Voorhees, NJ  08043

____________________________

Dee Ober, RMC

Township Clerk

RESOLUTION NO. 102-21

SUPPORTING S-3522, WHICH WOULD ESTABLISH A NEW BOARD OF TRUSTEES FOR THE LOCAL PART OF THE PUBLIC EMPLOYEES' RETIREMENT SYSTEM (PERS) TO PRESERVE THE STRUCTURE AND INTEGRITY OF THE MORE SOLVENT LOCAL PART

Whereas, county, municipal, and other local governments have met their pension obligations as employers for more than a decade while the State of New Jersey has continued to underfund the pension systems in varying degrees since 1996 and thus creating one of the worst publicly funded retirement systems in the entire nation; and

Whereas, despite fulfilling their fiduciary duties in meeting their pension obligations, local governments across the State will experience double digit percentage increases in total employer pension contributions in 2021 as determined in figures recently published by the Division of Pension and Benefits in the State Department of Treasury; and

Whereas, even more alarming for local government employers is the fact that the unfunded accrued liability once again increased in 2021 to a staggering $26.6 billion for PERS alone, causing in part, a decrease in the funded ratio for the Local Part of PERS to 65.4%, the State Part to 31.2%, and the combined rate to a disconcerting 52.2% far below the target funded ratio of 75.0%; and

Whereas, this legislation would protect local governing bodies from the State of New Jersey further directing property taxpayer dollars to subsidize its long mismanagement and underfunding of the pension systems as it would provide the new balanced board of trustees of PERS with the ability to determine or modify member benefits, direct policies and investments to achieve full funding, and serve as the fiduciary of system.

Now, Therefore, Be it Resolved that the Government Finance Officers Association of New Jersey does in fact hereby support S-3522, which would establish a new board of trustees for the Local Part of the Public Employees' Retirement System (PERS) to preserve the structure and integrity of the more solvent Local Part.

Be it Further Resolved that certified copies of this Resolution shall be forwarded to Governor Phil Murphy, Senate President Stephen M. Sweeney, Speaker of the General Assembly Craig Coughlin, and the clerks of the boards of county commissioners in all twenty-one counties.

DATED:  MARCH 22, 2021		MOTION:

AYES:               			SECONDED:

NAYS: 					APPROVED BY:  __________________________

Michael R. Mignogna, Mayor

I, Dee Ober, Municipal Clerk of the Township of Voorhees hereby certify the foregoing to be a true and correct copy of a resolution adopted by the Mayor and Township Committee of the Township of Voorhees at their meeting of March 22, 2021 held in the Municipal Building, 2400 Voorhees Town Center, Voorhees, NJ  08043

____________________________

Dee Ober, RMC

Township Clerk

VOORHEES TOWNSHIP COMMITTEE

MINUTES FOR THE MEETING OF MARCH 8, 2021

REGULAR MEETING 7:00 PM

FLAG SALUTE

ROLL CALL Committeewoman Fetbroyt, Committeeman Platt, Deputy Mayor Ravitz, Deputy Mayor Nocito, Mayor Mignogna

SUNSHINE STATEMENT

Mr. Long stated that this meeting is being held in compliance with the “Open Public Meetings Act” and has been published as required in the Courier Post and the Township Website.

SECOND READING ON ORDINANCE

AN ORDINANCE TO EXCEED THE MUNICIPAL BUDGET APPROPRIATION LIMITS AND TO ESTABLISH A CAP BANK (N.J.S.A. 40A:4-45.14)

MOTION TO CLOSE

PUBLIC PORTION: MR. PLATT	 	MOTION TO APPROVE: MR. RAVITZ

SECONDED: MR. RAVITZ			SECONDED: MR. PLATT

AYES: ALL

NAYS:	NONE

ROLL CALL:	MRS. FETBROYT- Y    	   	MR. PLATT-Y

MR. RAVITZ-Y      		MS. NOCITO-Y

MAYOR MIGNOGNA-Y

PUBLIC COMMENT FOR RESOLUTIONS ONLY

MOTION TO CLOSE

PUBLIC PORTION: MR. PLATT		AYES: ALL

SECONDED: MR. RAVITZ			NAYS: NONE

RESOLUTION NO. 88-21			MEMORIALIZING AN EXECUTIVE SESSION 							FROM FEBRUARY 22, 2021

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO. 89-21			ADJUSTING RECORDS OF THE TAX COLLECTOR

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO. 90-21			ADJUSTING RECORDS OF THE TAX ASSESSOR

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO. 91-21			APPROVING A PERFORMANCE GUARANTY FOR 							WAWA, BURNT MILL ROAD, BLOCK 178; LOTS 2 							& 11

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO. 92-21			AUTHORIZING THE EXTENSION OF THE 								AGREEMENT FOR DISPOSAL FACILITY 								BETWEEN THE TOWNSHIP OF VOORHEES AND 							OMNI RECYCLING, LLC

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO. 93-21			AUTHORIZING EXECUTION OF A SHARED 							SERVICES AGREEMENT WITH THE VOORHEES 							BOARD OF EDUCATION TO ALLOW THE USE OF 							THE TOWNSHIP OF VOORHEES’ MUNICIPAL 							ROAD AND DRAINAGE WORK SERVICES FOR 							LOCAL MUNICIPAL PROJECTS

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO. 94-21	AWARDING A CONTRACT EXTENSION TO TIERPOINT FOR DATA COLOCATION SERVICES (PREVIOUSLY RESOLUTION NO. 60-21 WHICH WAS TABLED ON JANUARY 25, 2021)

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO. 95-21			APPROVING CONTRACT WITH VOORHEES 							TOWNSHIP MUNICIPAL EMPLOYEES 								ASSOCIATION, SUPERVISORS BARGAINING 							UNIT

MOTION TO APPROVE: MR. PLATT

SECONDED: MS. NOCITO

AYES: ALL

NAYS: NONE

RESOLUTION NO.				EXECUTIVE SESSION

APPROVAL OF MINUTES FOR FEBRUARY 22, 2021

TAX COLLECTOR’S REPORT FOR FEBRUARY 2021

APPROVAL OF BILLS FOR MARCH 8, 2021

MOTION TO APPROVE: MR. PLATT

SECONDED: MR. RAVITZ

AYES: ALL

NAYS: NONE

COMMENTS FROM COMMITTEE

Ms. Nocito thanked the women of our community and especially those working during the pandemic. She thanked all of the hard-working women at town hall for all they do.

Mrs. Fetbroyt thanked Committeewoman Nocito for her mentoring and guidance through her first year on township committee. She also pointed out that disproportionally women have been more negatively affected by the pandemic in terms of losing their jobs and carrying the responsibility of taking care of their children while home schooling.

Ms. Nocito thanked Mr. Ravitz, Mr. Platt and Mayor Mignogna for their support. She also thanked the female police officers and first responders in Voorhees Township.

Mayor Mignogna wished Matthew Shinkle, reporter for The Sun newspaper, good luck in his next endeavor.

COMMENTS FROM THE PUBLIC - None

MOTION TO CLOSE

PUBLIC COMMENT: MS. FETBROYT	AYES: ALL

SECONDED: MR. PLATT	NAYS: NONE

ADJOURNMENT

| VOORHEES TOWNSHIP |  |  |  |
| --- | --- | --- | --- |
| VITAL STATISTICS |  |  |  |
| TO THE MAYOR AND TOWNSHIP COMMITTEE |  |  |  |
| REGISTRAR'S REPORT FOR THE MONTH OF FEBRUARY 2021 |  |  |  |
|  | Total Recorded |  |  |
| Recorded Births | 519 |  |  |
| Recorded Deaths | 123 |  |  |
| Recorded Marriages | 2 |  |  |
| Recorded Civil Unions | 0 |  |  |
| Recorded Domestic Partnerships | 0 |  |  |
| ISSUED | Amount Issued | Total Income |  |
| Certified Birth Certificates @ $25 | 758 | $18,950 |  |
| Marriage Licenses @ $28 | 1 | 28 |  |
| Certified Marriage Certificates @ $25 | 7 | 175 |  |
| Civil Union Licenses @ $28 | 0 | 0 |  |
| Civil Union Certificates @ $25 | 0 | 0 |  |
| Domestic Partnership Affidavits @ $28 | 0 | 0 |  |
| Domestic Partnership Certificates @ $25 | 0 | 0 |  |
| Certified Death Certificates @ $25 | 6 | 150 |  |
| Additional DC's @ $2 | 22 | 44 |  |
| Burial Permits @ $5 | 4 | 20 |  |
| Corrections @ $25 | 10 | 250 |  |
| Legal Name Changes @ $2 | 1 | 2 |  |
| Abstract Certifications @ $10 | 0 | 0 |  |
| Postage for: VitalChek @ $1 | 21 | 21 |  |
| Overage |  |  |  |
|  | Total Deposits | $19,640 |  |
| EDRS Death Certificates | 8 | 200 |  |
| EDRS Additional Death Certificates | 63 | 126 |  |
|  | Total EDRS Deposits | $326 |  |
| TOTAL INCOME FOR JANUARY |  | $19,966 |  |
| RESPECTFULLY SUBMITTED BY: |  |  |  |
| GAIL DAVID, REGISTRAR OF VITAL STATISTICS |  |  |  |